## Plate 2 - Sheet1
Software Version | 3.08.01
Experiment File Path: | C:\Users\Public\Documents\Experiments\240613_calibration_curve.xpt
Protocol File Path:
Plate Number | Plate 2
Date | 2024-06-13
Time | 15:28
Reader Type: | Synergy H1
Reader Serial Number: | 268471
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Absorbance Endpoint
B1..C11
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Endpoint
B1..C11
Filter Set 1
Excitation: 500, Emission: 541
Optics: Bottom, Gain: 80
Filter Set 2
Excitation: 472, Emission: 601
Optics: Bottom, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 22.9
Actual Temperature: | 22.8
Actual Temperature: | 22.8
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601
| B | 1.658 | 0.756 | 0.354 | 0.149 | 0.099 | 0.088 | 0.085 | 0.084 | 0.082 | 0.082 | 0.082 |  | Read 1:600
|  | 61756 | 17069 | 4931 | 1614 | 560 | 226 | 161 | 140 | 135 | 128 | 125 |  | Read 2:500,541
|  | 21758 | 6948 | 2911 | 1887 | 1495 | 1412 | 1440 | 1373 | 1362 | 1264 | 1385 |  | Read 2:472,601
| C | 1.639 | 0.817 | 0.337 | 0.157 | 0.1 | 0.088 | 0.084 | 0.084 | 0.082 | 0.083 | 0.082 |  | Read 1:600
|  | 2054 | 608 | 284 | 164 | 139 | 127 | 137 | 130 | 136 | 141 | 141 |  | Read 2:500,541
|  | 48341 | 13088 | 4835 | 2450 | 1653 | 1520 | 1435 | 1204 | 1370 | 1386 | 1287 |  | Read 2:472,601
| D | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601
| E | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601
| F | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601
| G | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601
| H | [12 empty] | Read 1:600
Read 2:500,541
Read 2:472,601